Working with biohazards

Hazard perception – Microbiology laboratory

Speciation reference A4.5–A4.8

Define the term biohazard.

A microorganism, cell culture or human endoparasite, whether genetically modified or not, which may cause infection, allergy, toxicity, or otherwise create a hazard to human health.

Match the hazard groups with the biohazards (biological agents) and examples.

- Can cause severe human disease and may be a serious hazard to employees; it may spread to the community, but there is usually effective prophylaxis or treatment available.

- Causes severe human disease and is a serious hazard to employees; it is likely to spread to the community and there is usually no effective prophylaxis or treatment available.

- Can cause human disease and may be a hazard to employees; it is unlikely to spread to the community and there is usually effective prophylaxis or treatment available.

- Unlikely to cause human disease.

St John Rigby College is delivering this programme on behalf of the Education and Training Foundation. This programme is funded by the Department for Education.

Mycobacterium tuberculosis, influenza types A, B and C, Congo haemorrhagic fever virus and Bacillus subtilis

| Hazard group | Letter | Example |
| --- | --- | --- |
| 1 | d | Bacillus subtilis |
| 2 | c | Influenza types A, B and C |
| 3 | a | Mycobacterium tuberculosis |
| 4 | b | Congo haemorrhagic fever virus |

Read the background information below, observe the technicians, complete the proforma below proforma and watch the video (please note this is a fictional scenario for educational purposes).

Background information

This a large research laboratory that handles group 3 and 4 biological agents. Many technicians work in this laboratory to complete their own very different research. The disinfectant use is rotated, and the technicians are required to record the batch used, time and date when disinfecting their area. The windows are open in the laboratory to allow ventilation. The laboratory is on the third floor of the building. There is a large autoclave to the back of the laboratory and an incidence log dating from April 2022.

St John Rigby College is delivering this programme on behalf of the Education and Training Foundation. This programme is funded by the Department for Education.

Complete the table below

| Hazard no | Hazard – Video still (when appropriate) | Identify the breach(es) of the Control of Substances Hazardous to Health Regulations (2002) (COSHH) | Outline the possible implications of COSHH breaches | Identify the correct containment measures which should be used here |
| --- | --- | --- | --- | --- |
| 1 |  | Unsafe storage of biological agents. Spillage which has not been cleaned up. Agar plate not labelled and left open. | Risks to employee health (short- and long-term effects of infection) Risks to the wider population (disease spread) Risks to the environment (vegetation, water supply and soil) | Biohazardous waste should be treated and disposed of promptly and not allowed to accumulate. Each container of untreated biohazardous waste must be clearly identified as such and labelled with the biohazard symbol. Non-biohazardous waste should be clearly labelled to prevent commingling. Biohazardous material should be placed in an autoclave bag and sterilised prior to removal. Agar plates, universals and other vessels containing liquid cultures must be stored securely in such a way as they are not in danger of being spilt or knocked over. This can be achieved by: Storing in trays Use of suitable tube racks Ensuring cultures and plates are not near the edge of benches or in areas were there is danger of spillage. A minor spillage should be handled by applying disinfectant to the spillage and leaving for an appropriate period. The spillage and disinfectant should then be mopped up with disposable paper towels or spillage absorption granules, which should be discarded as clinical waste. For larger liquid spills, it may be appropriate to contain the spill before applying disinfectant. If there has been significant skin contamination, it should be washed off with water, or an emergency shower used if available. Personnel dealing with the spillage should wear the appropriate personal protective equipment (PPE) while doing so. Poor aseptic technique could lead to culturing unknown environmental isolates. |
| 2 |  | Personnel should wear protective clothing. | Risks to employee health (short- and long-term effects of infection) | Comply with any provision in the PPE Regulations (2002). Laboratory staff must wear PPE when conducting work in the laboratory. PPE must be removed on leaving the laboratory, and hygiene practices including handwashing must be rigorously maintained. PPE must include disposable gloves and a laboratory coat or gown as a minimum. It may also include eye protection and other equipment as identified by risk assessment. |
| 3 |  | The workplace needs to be separated from any other activities in the same building such as eating, drinking and socialising. | Risks to the wider population (disease spread), water supply and soil | Safe work practices and policies must be in place to reduce the risk of exposure to staff while working in the laboratories. Safe work practices include no eating, drinking, chewing gum, handling of personal electronic devices, smoking, applying cosmetics or handling of contact lenses. All PPE must be removed prior to leaving the laboratories, ie lab coats and gloves should never be worn to the bathroom or to get a drink from the water fountain. All staff and learners must wash their hands immediately if contaminated with potentially infected material. Prior to leaving the laboratories, handwashing sinks are to be used for handwashing only. No other materials may be poured into these sinks. |
| 4 |  | Infected material not handled in a safety cabinet, isolator or other suitable containment. | Risks to employee health (short- and long-term effects of infection) Risks to the wider population (disease spread) Risks to the environment (vegetation, water supply and soil) | A group 3 biological agent is one which can “cause severe human disease and may be a serious hazard to employees; it may spread to the community, but there is usually effective prophylaxis or treatment available.” These activities should take place in a sterilised laminar flow or safety cabinet. |
| 5 | Windows open | Input air and extract air to the workplace are to be filtered using a high-efficiency particulate air (HEPA) filter or equivalent. | Risks to the wider population (disease spread) | Windows should remain closed. |
| 6 |  | Biohazard signs should be posted. | Risks to employee health (short- and long-term effects of infection) Risks to the wider population (disease spread) Risks to the environment (vegetation, water supply and soil) | The door of the laboratory, incubator, fridge and freezer must also have a biohazard sign. |
| 7 |  | Viable microorganisms should be contained in a system which physically separates the process from the environment (closed system). | Risks to employee health (short- and long-term effects of infection) Risks to the wider population (disease spread) Risks to the environment (vegetation, water supply and soil) | Door should remain closed. |
| 8 |  | Access is to be restricted to authorised persons only. | Risks to the wider population (disease spread) | Door should remain closed and clear signage should be displayed on it regarding access being restricted to authorised personal only. |
| 9 |  | Not complying with specific waste disposal regulations. | Risks to the wider population (disease spread) | Biohazardous waste should be treated and disposed of promptly and not allowed to accumulate. Each container of untreated biohazardous waste must be clearly identified as such and labelled with the biohazard symbol. |

St John Rigby College is delivering this programme on behalf of the Education and Training Foundation. This programme is funded by the Department for Education.